## Sheet1
| is_comparable | reason
0 | TRUE | Both items describe connecting a new pipe with an internal diameter of 2 to 3 inches to an existing exposed pipe of the same size, including necessary steps like cutting, using couplings, and testing for water pressure. The slight difference in wording does not affect equivalence.
1 | TRUE | Both items are connectors for HDPE pipes with the same diameter (110 mm), including necessary connections and fittings.
2 | FALSE | The candidate includes 'ולbracht' (with couplings) while the reference does not, which implies a different product category.
3 | FALSE | Different diameter specifications change the intended use.
4 | TRUE | The candidate matches the reference in material type, dimensions (within acceptable tolerance), and intended use.
5 | FALSE | Different intended use (radiator vs sprinkler)
6 | TRUE | Both items are monoblock hanging shelves from Optima, made of white ceramic with an ECO PLUS seat.
7 | FALSE | Different pipe diameters (50mm vs 110mm) affect intended use.
8 | TRUE | Both items are wall-mounted sink faucets for medical rooms, with the same model number (Clear 305301 inch), short spout length of 200mm, and finish in chrome-nickel. The intended use and material type match.
9 | FALSE | Different dimensions (80L vs 150L), different intended use (installation on wall or interstitial space vs built-in with water and electricity connections).
10 | TRUE | Both items are polypropylene containers with matching dimensions (2/4) and lids. The slight difference in description does not change their fundamental equivalence.
11 | FALSE | No match found for reference
12 | FALSE | Different intended uses (pressure relief vs. flow control)
13 | TRUE | Both items are sleeves with the same diameter of 4.
14 | FALSE | The candidate has a different material type (galvanized vs black steel), different intended use (suitable for cold and hot water vs general use), and mismatched dimensions (diameter 3 instead of 40).
15 | TRUE | Both items are steel pipes with a diameter of 2, intended for use in ceilings. The reference mentions 'black steel pipes' while the candidate specifies 'galvanized steel pipes,' but this difference does not change their essential equivalence. Dimensions and intended use match.
16 | FALSE | The candidate has additional features (mesh and a rubber ring) not present in the reference, which may change the intended use.
17 | TRUE | Both items are serviceable for disabled use, have the same model number and dimensions, matching materials (nickel chrome), and similar intended uses.
18 | TRUE | Both items are monolithic non-slip tiles from Homette, white color. The model 'Barkat' matches, and dimensions are comparable.
19 | FALSE | Dimension mismatch exceeds acceptable variation.
20 | FALSE | Different intended use (T-fitting connector vs ball valve)
21 | FALSE | Different intended use and missing UL/FM certification.
22 | TRUE | Both items are of type Upright/Pendant, have a nominal diameter of 1/2 NPT, and operate within similar temperature ranges. The slight difference in temperature ratings (68°C vs 93,79,68°C) does not significantly affect comparability.
23 | FALSE | No match found for reference
24 | TRUE | Both items are points for connecting air conditioners with similar dimensions and intended use, despite minor differences.
25 | TRUE | Both items are steel pipes with a diameter of 3, intended for use in ceilings. The reference mentions 'without visible seams or hidden seams,' while the candidate specifies 'welded with Quick up connectors.' These differences do not contradict each other and fall within acceptable nominal vs actual dimension rules.
26 | TRUE | Both items are kitchen faucet models Everest 302853 inch with long rotating spout and nickel chrome finish, produced by Chemlith. The dimensions and material type match.
27 | FALSE | Different intended use and missing critical dimensions.
28 | TRUE | Both items are steel pipes with a diameter of 1/2 inch, intended for use in a suspended ceiling system. The candidate includes QuickUp connectors and covers, matching the reference's requirements.
29 | FALSE | Dimension mismatch and differing features
30 | TRUE | Both items are Everest 300853 inch models with a long rotating spout, elbow handle, nickel chrome plating, and made by Hometec. The candidate includes additional uses (bathroom, sterilization, orthopedic) but does not contradict the reference item.
31 | TRUE | Both items are made of cast iron with the same diameter and serve similar structural purposes.
32 | TRUE | Both items are washbasins with similar dimensions (45 inches) and intended use for accessible purposes, despite minor differences in naming.
33 | FALSE | Different material type and missing key attributes.
34 | FALSE | The candidate does not include the 'משטח שיש אבן קיסר' component mentioned in the reference item.
35 | FALSE | Material type differs (PE vs PEX), affecting intended use.
36 | FALSE | The candidate includes an electric wire that is not mentioned in the reference item, which changes the intended use.
37 | FALSE | No match found for reference
38 | FALSE | No match found for reference
39 | FALSE | Different materials and incompatible dimensions.
40 | TRUE | Both items are flowswitches with UL/FM approval and intended for use on pipes, meeting the necessary standards.
41 | FALSE | The candidate item does not include a fire sprinkler system component with a 4-inch diameter, a water motor gong, drain valve, and other necessary components for complete installation.
42 | TRUE | Both items are polypropylene pipes with a 20mm diameter suitable for cold and hot water.
43 | FALSE | No match found for reference
44 | FALSE | No match found for reference
45 | FALSE | Missing material type and working pressure specifications create a contradiction.
46 | FALSE | Material type and dimensions differ significantly.
47 | FALSE | Different intended uses: pipe vs water tank.
48 | FALSE | No match found for reference
49 | FALSE | No match found for reference